Title: In vitro caries inhibition at the enamel margins of glass ionomer restoratives developed for the ART approach

Author(s): Smales RJ, Gao W

Source: JOURNAL OF DENTISTRY 28 (4): 249-256 MAY 2000

Document Type: Article

Language: English

Cited References: 34      Times Cited: 8

Abstract: Objectives: To assess the ability of conventional glass ionomer cements manufactured specifically for the atraumatic restorative treatment (ART) approach to inhibit the in vitro demineralization of enamel.

Methods: Twenty-four sound permanent premolar teeth, extracted for orthodontic reasons, had cervical cavities (4 x 2 x 1.5 mm(3)) prepared in enamel. These were restored with Fuji IX, Fuji IX GP, Ketac-Molar and Compoglass, and then thermocycled 300 times between 5-55 degrees C before being placed in a demineralizing solution (0.1 M lactic acid with 1 g/l dissolved hydroxyapatite at pH 4.7) for four weeks. Buccolingual planoparallel sections were cut axially through the restorations, and subsequently lapped to approximately 100 mu m thickness. The sections were examined with a polarized light microscope, and lesion measurements made using image analysis software. ANOVA and coefficients of variance were used to compare the findings.

Results: Compoglass and Ketac-Molar showed significantly less surface erosion than did the other two cements (p < 0.0001). Inhibition of enamel demineralization immediately adjacent to the restoration margins was more frequent with the glass ionomer cements (20.5-25.0%) than with Compoglass (13.0%). However, the widths of the inhibition zones varied between materials and sites.

Conclusions: Fluoride ion release from the restorative materials afforded some degree of protection to the adjacent enamel against in vitro demineralization. (C) 2000 Elsevier Science Ltd. All rights reserved.

Author Keywords: caries inhibition; glass ionomer; atraumatic restorative treatment

KeyWords Plus: FLUORIDE-CONTAINING MATERIALS; CLASS-II RESTORATIONS; IN-VITRO; SECONDARY CARIES; FUJI-IX; RELEASE; CEMENTS; LESIONS

Addresses: Smales RJ (reprint author), 19A Wattle St, Adelaide, SA 5063 Australia
Univ Hong Kong, Prince Philip Dent Hosp, Hong Kong, Hong Kong Peoples R China
Beijing Med Univ, Sch Stomatol, Dept Prosthodont, Beijing, 100081 Peoples R China

Publisher: ELSEVIER SCI LTD, THE BOULEVARD, LANGFORD LANE, KIDLINGTON, OXFORD OX5 1GB, OXON, ENGLAND

Subject Category: DENTISTRY, ORAL SURGERY & MEDICINE

IDS Number: 302TY

ISSN: 0300-5712